## Slide 1
CORNWALL CENTRAL SCHOOL DISTRICT
CAPITAL PROJECT UPDATE TO THE FACILITIES COMMITTEE
August 18, 2025

## Slide 2
Agenda
Review of May 28 Meeting
  BCS Preliminary Findings
  2025 Pre-Referendum – preliminary concepts for MS Kitchen / Cafeteria - Kate’s Cocktail Napkin; MS Drop-off Loop; HS Stadium Restrooms
Today’s Meeting
  2025 Pre-Referendum – revised preliminary concepts :
    MS Kitchen / Cafeteria
    MS Drop-off Loop
    HS Stadium Restrooms
  Next Steps
    Decisions to me made on above
    Establish Budget
    SEQRA Process Update – TPG
  Completed BCS
    Schedule Facilities Committee Review
    Schedule Full BOE Presentation

## Slide 3
Preliminary Concepts – MS Kitchen / Cafeteria
Existing Plan
Color Key:
Existing
Reconstruct
Courtyard Renovation
Courtyard
Renovated Plan

## Slide 4
Preliminary Concepts – MS Kitchen / Cafeteria
Addition Plan
Color Key:
Existing
Renovation
Addition
Per SED:
Enrollment of 908 would allow for a cafeteria / kitchen of approximately 4,500 sf. that is eligible to for building aid.
32’
111’
130’
32’
30’

## Slide 5
Preliminary Concepts – MS Kitchen / Cafeteria
Addition Plan
Per SED:
Enrollment of 908 would allow for a cafeteria / kitchen of approximately 4,500 sf. that is eligible to for building aid.
Color Key:
Existing
Reconstruction
Kitchen/Serving
Cafeteria A & B
Snack Area
32’
111’
130’
32’
30’

## Slide 6
Preliminary Concepts – MS Kitchen / Cafeteria
Per SED:
If the old cafeteria is going to be used to create additional instructional space, a full PR and recalculation of existing BAUs will be required.
Existing Renovated Plan
Color Key:
Existing
Reconstruction
Courtyard

## Slide 7
Preliminary Concepts – MS Dropoff Drive

## Slide 8
HS Stadium Restrooms
520’

## Slide 9
Minimum Fixture
Counts Needed:
Toilets (Water Closets):
  Female: 17
  Male: 9
  Total: 26 *
Sinks (Lavatories):
  Female: 5
  Male: 4
  Total: 9 *
Service Sinks:
  Total: 1
* Min. 5% HC Accessible

## Slide 10
We are here

## Slide 11
Preliminary Capital Project Budget

## Slide 12
REFERENDUM
    ** SED Review times vary.
    Based upon voter referendum in Nov./Dec. 2025 and contingent upon confirmation of scope and budgets.
Preliminary Capital Project Timeline
12/09/25?
12/16/25?
DESIGN
SED REVIEW **
CONSTRUCTION PHASE / CLOSEOUT
BID
TBD…
We are here
BUILDING CONDITIONS SURVEY
PRE-REF
BCS PRELIMINARY HIGH PRIORITY FINDINGS

## Slide 13
    Based upon voter referendum in Dec. 2025 and contingent upon confirmation of scope and budgets.
Pre-Referendum Phase
Consultant Team Assembled (A/E, CM, Finance, Legal, Bond, SEQRA, Other?)
Facilities Committee and Board of Education Meetings
*
*
*
Stakeholder /
User Group Meetings
Scope Development
*
Communications & Interpretation
DESIGN
Preliminary Pre-Referendum Timeline
Proposition Resolution & SEQRA Determination
*
*
*
*
We are here
*

## Slide 14
Pre-Referendum Next Steps…
Establish Overall Project Budget
Scope Development & Pricing
  CCMS Parent Drop-Off/Cafeteria Addition
  CCHS Restroom/Concession
  Other work? (CCHS, CCMS, CES, COH, WAES)
SEQRA Determination/Wetlands
Retain Subconsultants
  Geotech
  Surveyor
  Kitchen?
  Others?
SED Preliminary Submission
Timeline – Referendum Date
Communication Strategy

## Slide 15
Questions?
“Children are the World’s most valuable resource and its best hope for the future.”
~John F. Kennedy